## Slide 1
 | 0min | 60min | DAFU
Assay buffer | 247 | 4381 | 4134
5% DMSO | 396 | 4947 | 4551
1 um DHP1c | 467 | 4902 | 4435
10uM DHP1c | 815 | 5247 | 4432
50uM DHP1c | 2004 | 5497 | 3493
Chart: D AFU
| Assay buffer | 5% DMSO | 1 uM DHP1c | 10uM DHP1c | 50uM DHP1c
 | 4134 | 4551 | 4435 | 4432 | 3493
[SIRT1]=1U/reaction
[NAD+]=500 mM
[FdL1 peptide]=250 mM
[DHP1c]=0, 10, 50 mM
Incubation 1 hr after addition of enzyme
Shake for 15 min after addition of Developer
DHP1c / SIRT1 activity _ 04.07.2016
Remarks
No activation was detected under current condition.
Compare to 5% DMSO control
  Intrinsic fluorescence background by 1uM DHP1c was not significant (17%).
  10uM DHP1c had doubled the AFU.
  50uM DHP1c brings big background (5-fold).