## Slide 1: DHP1c/In-house SIRT3 HPLC Repeat

## Slide 2
Experimental Conditions
[In-house SIRT3] = 10U
[FdL2 peptide] = 10, 50uM
[NAD+] = 2000 uM
[DHP1c] = 0, 100, 200 uM
Temp. = 37oC
Time point = 0, 60min
Note: In-house SIRT3: Batch 3, 0.95 U/ul.

## Slide 3
 | SIRT3 | RtNAD+, min | Rtproduct, min | RtFdL2, min | Peak Area, product | Peak Area, FdL2 | Total Peak Area | % product formed | pmole
HDAC Buffer | X | 8.000 |  | 14.950 |  | 3897769 | 3897769 |  | 
HDAC Buffer | p | 8.017 | 13.417 | 15.133 | 351235 | 3323974 | 3675209 | 9.557 | 191.1
5% DMSO | X | 8.017 |  | 15.150 |  | 3299671 | 3299671 |  | 
5% DMSO | p | 8.000 | 13.433 | 15.133 | 280675 | 3546122 | 3826797 | 7.334 | 146.7
100uM DHP1c | X | 8.000 |  | 15.133 |  | 3612357 | 3612357 |  | 
100uM DHP1c | p | 7.967 | 13.433 | 15.150 | 283872 | 3311149 | 3595021 | 7.896 | 157.9
200uM DHP1c | X | 8.100 |  | 15.150 |  | 3672249 | 3672249 |  | 
200uM DHP1c | p | 8.033 | 13.450 | 15.133 | 286429 | 3384222 | 3670651 | 7.803 | 156.1
Avg |  | 8.017 |  | 15.117 |  |  | 3656216 |  | 
Stdv |  | 0.039 |  | 0.068 |  |  | 177710 |  | 
cv% |  | 0.483 |  | 0.449 |  |  | 4.9 |  | 
Saturating NAD+ and un-saturating FdL2 peptide

## Slide 4
2000uM NAD+, 50uM FdL2 peptide
 | pmole | % Activation
Buffer | 191.1 | 
5% DMSO | 146.7 | 100.0
100uM DHP1c | 157.9 | 107.6
200uM DHP1c | 156.1 | 106.4
Chart: 2000uM NAD+, 50uM FdL2 peptide
| Buffer | 5% DMSO | 100uM DHP1c | 200uM DHP1c
 | 191.1 | 146.7 | 157.9 | 156.1
Chart: 2000uM NAD+, 50uM FdL2 peptide
| 5% DMSO | 100uM DHP1c | 200uM DHP1c
 | 100 | 107.6346 | 106.4076

## Slide 5
 | SIRT3 | RtNAD+, min | Rtproduct, min | RtFdL2, min | Peak Area, product | Peak Area, FdL2 | Total Peak Area | % product formed | pmole
HDAC Buffer | X | 7.983 |  | 15.117 |  | 686091 | 686091 |  | 
HDAC Buffer | p | 7.950 | 13.467 | 15.183 | 62805 | 744093 | 806898 | 7.784 | 31.1
5% DMSO | X | 8.050 |  | 15.117 |  | 781929 | 781929 |  | 
5% DMSO | p | 7.967 | 13.417 | 15.117 | 62264 | 745309 | 807573 | 7.710 | 30.8
100uM DHP1c | X | 8.083 |  | 15.133 |  | 787870 | 787870 |  | 
100uM DHP1c | p | 8.033 | 13.417 | 15.133 | 66909 | 670947 | 737856 | 9.068 | 36.3
200uM DHP1c | X | 8.000 |  | 15.133 |  | 784727 | 784727 |  | 
200uM DHP1c | p | 8.033 | 13.367 | 15.100 | 60141 | 649541 | 709682 | 8.474 | 33.9
Avg |  | 8.012 |  | 15.129 |  |  | 762828 |  | 
Stdv |  | 0.045 |  | 0.025 |  |  | 45907 |  | 
cv% |  | 0.563 |  | 0.163 |  |  | 6.0 |  | 
Saturating NAD+ and un-saturating FdL2 peptide

## Slide 6
2000uM NAD+, 10uM FdL2 peptide
 | pmole | % Activation
Buffer | 31.1 | 
5% DMSO | 30.5 | 100.0
100uM DHP1c | 36.3 | 119.0
200uM DHP1c | 33.9 | 111.1
Chart: 2000uM NAD+, 10uM FdL2 peptide
| Buffer | 5% DMSO | 100uM DHP1c | 200uM DHP1c
 | 31.1 | 30.5 | 36.3 | 33.9
Chart: 2000uM NAD+, 10uM FdL2 peptide
| 5% DMSO | 100uM DHP1c | 200uM DHP1c
 | 100 | 119.0164 | 111.1475

## Slide 7
Summary
In repeat experiments, activations of in-house SIRT3 were detected under Saturating of NAD+ with un-saturating FdL2 peptide conditions in the presence of 100 and 200uM DHP1c.
cv% < 6.0 % of total peak area indicated the HPLC performance was consistent (sample loading, peak separation, lamp).
Higher activation was observed by the addition of 100uM DHP1c than those by 200uM DHP1c.
To Do
Identify an DHP1c concentration where the inhibitory effect can be observed.
The use of the new FdL standard peptides in control experiments aimed at identifying why there are false positives. (1) Background check—50uM and 250 uM peptide solution with without the addition of 1xdeveloper (a) p53 317-320; (b) p53 317-320-Ac; (c) p53 317-320-AMC; (d) p53 317-320-Ac-AMC (2) Standard curve using synthesized peptides and FdL standard.
Note that, peptide d has been reported as failed. I have requested a quotation of that peptide from Sigma and Gene Script. Will follow up when the quotes come in.
% Activation | [NAD+]=2000 uM, [FdL2 peptide]=50 uM |  | [NAD+]=2000 uM [FdL2 peptide]=10 uM
 | 6.15.16 | Repeat (7.1.16 ) | 
5% DMSO | 100.0 | 100.0 | 100.0
100uM DHP1c | 109.5 | 107.6 | 119.0
200uM DHP1c | 112.2 | 106.4 | 111.1
y | 1.5625 | 1.5625 | 0.3125

## Slide 8
[Peptide], uM | Fraction of Km(peptide)
0.015 | 0.000584
0.024 | 0.000934
0.046 | 0.001790
0.049 | 0.001907
0.098 | 0.003813
0.14 | 0.005447
0.19 | 0.007393
0.39 | 0.015175
0.41 | 0.015953
0.5 | 0.019455
0.78 | 0.030350
1.2 | 0.046693
1.56 | 0.060700
3.12 | 0.121401
3.7 | 0.143969
6.25 | 0.243191
10 | 0.3125
11 | 0.428016
12.5 | 0.486381
25 | 0.972763
33 | 1.284047
50 | 1.5625
100 | 3.891051
Nature 450 (2007) 712-716

## Slide 9
Chart: x (0≤x≤1)
| 0 | 0.1 | 0.2 | 0.26700000000000002 | 0.26800000000000002 | 0.3 | 0.4 | 0.5 | 0.51400000000000001 | 0.54300000000000004 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.2 | 1.4 | 1.6 | 1.8 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
0.000934 | 1071.8333 | 9.9167 | 4.9814 | 3.7357 | 3.7219 | 3.3261 | 2.4965 | 1.9981 | 1.9438 | 1.8402 | 1.6656 | 1.428 | 1.2497 | 1.111 | 1 | 0.83346 | 0.71448 | 0.62522 | 0.55579 | 0.50023 | 0.40022 | 0.33354 | 0.2859 | 0.25018 | 0.22238 | 0.20015
0.001907 | 525.4898 | 9.8316 | 4.9622 | 3.7259 | 3.712 | 3.3186 | 2.4929 | 1.9962 | 1.942 | 1.8387 | 1.6646 | 1.4274 | 1.2494 | 1.1109 | 1 | 0.8336 | 0.71467 | 0.62545 | 0.55603 | 0.50048 | 0.40046 | 0.33376 | 0.2861 | 0.25036 | 0.22255 | 0.2003
0.003813 | 263.2449 | 9.6694 | 4.9252 | 3.7067 | 3.693 | 3.304 | 2.4858 | 1.9924 | 1.9386 | 1.8358 | 1.6625 | 1.4262 | 1.2488 | 1.1106 | 1 | 0.83386 | 0.71506 | 0.62589 | 0.5565 | 0.50095 | 0.40091 | 0.33418 | 0.28649 | 0.25071 | 0.22288 | 0.20061
0.007393 | 136.2632 | 9.3804 | 4.8574 | 3.6714 | 3.658 | 3.2772 | 2.4728 | 1.9854 | 1.9321 | 1.8303 | 1.6586 | 1.4241 | 1.2477 | 1.1102 | 1 | 0.83435 | 0.71579 | 0.62672 | 0.55737 | 0.50184 | 0.40177 | 0.33497 | 0.28722 | 0.25138 | 0.2235 | 0.20118
0.015175 | 66.8974 | 8.8142 | 4.7179 | 3.5977 | 3.585 | 3.221 | 2.4452 | 1.9705 | 1.9184 | 1.8187 | 1.6502 | 1.4195 | 1.2453 | 1.1093 | 1 | 0.83541 | 0.71735 | 0.62852 | 0.55927 | 0.50377 | 0.40362 | 0.33669 | 0.2888 | 0.25283 | 0.22484 | 0.20242
0.019455 | 52.4 | 8.5342 | 4.6454 | 3.5589 | 3.5465 | 3.1912 | 2.4304 | 1.9625 | 1.911 | 1.8125 | 1.6457 | 1.417 | 1.2441 | 1.1088 | 1 | 0.83599 | 0.7182 | 0.62951 | 0.56031 | 0.50482 | 0.40463 | 0.33763 | 0.28966 | 0.25363 | 0.22557 | 0.2031
0.03035 | 33.9487 | 7.9045 | 4.473 | 3.4651 | 3.4535 | 3.119 | 2.3942 | 1.9428 | 1.8928 | 1.7971 | 1.6346 | 1.4108 | 1.2409 | 1.1075 | 1 | 0.83744 | 0.72035 | 0.63198 | 0.56293 | 0.50747 | 0.4072 | 0.34001 | 0.29185 | 0.25565 | 0.22743 | 0.20483
0.038911 | 26.7 | 7.479 | 4.3485 | 3.3961 | 3.3851 | 3.0654 | 2.367 | 1.9278 | 1.879 | 1.7853 | 1.6261 | 1.406 | 1.2384 | 1.1065 | 1 | 0.83857 | 0.72201 | 0.6339 | 0.56496 | 0.50954 | 0.4092 | 0.34187 | 0.29357 | 0.25723 | 0.22889 | 0.20618
0.0607 | 17.4744 | 6.6005 | 4.0687 | 3.2368 | 3.227 | 2.9407 | 2.3024 | 1.8917 | 1.8457 | 1.757 | 1.6054 | 1.3944 | 1.2324 | 1.1041 | 1 | 0.84136 | 0.72616 | 0.63871 | 0.57005 | 0.51473 | 0.41422 | 0.34655 | 0.29789 | 0.26121 | 0.23257 | 0.2096
0.1214 | 9.2372 | 5.065 | 3.4891 | 2.8872 | 2.8798 | 2.6611 | 2.1507 | 1.8046 | 1.7649 | 1.6878 | 1.5545 | 1.3652 | 1.2171 | 1.0979 | 1 | 0.84865 | 0.73708 | 0.65145 | 0.58364 | 0.52861 | 0.42779 | 0.35926 | 0.30966 | 0.27209 | 0.24265 | 0.21896
0.1945 | 6.14 | 4.0555 | 3.0276 | 2.5881 | 2.5825 | 2.4154 | 2.0092 | 1.7199 | 1.6859 | 1.6196 | 1.5034 | 1.3354 | 1.2011 | 1.0914 | 1 | 0.85658 | 0.74915 | 0.66565 | 0.59891 | 0.54433 | 0.44332 | 0.37393 | 0.32333 | 0.28479 | 0.25446 | 0.22996
0.2431 | 5.112 | 3.6224 | 2.8051 | 2.4367 | 2.432 | 2.2887 | 1.9328 | 1.6728 | 1.6418 | 1.5813 | 1.4744 | 1.3181 | 1.1917 | 1.0875 | 1 | 0.86142 | 0.75657 | 0.67448 | 0.60846 | 0.55421 | 0.45319 | 0.38332 | 0.33212 | 0.29298 | 0.2621 | 0.23711
10uM FdL2 peptide
50uM FdL2 peptide
v'/v = (1+y)/(x+y)

## Slide 10
Chart: x (0≤x≤1)
| 0 | 0.1 | 0.2 | 0.26700000000000002 | 0.26800000000000002 | 0.3 | 0.4 | 0.5 | 0.51400000000000001 | 0.54300000000000004 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.2 | 1.4 | 1.6 | 1.8 | 2 | 3 | 3.5 | 4 | 4.5 | 5
 | 0 | 0.99167 | 0.99628 | 0.99745 | 0.99746 | 0.99783 | 0.9986 | 0.99907 | 0.99912 | 0.99922 | 0.99938 | 0.9996 | 0.99977 | 0.9999 | 1 | 1.0002 | 1.0003 | 1.0003 | 1.0004 | 1.0005 | 1.0006 | 1.0007 | 1.0007 | 1.0007 | 1.0007
 | 0 | 0.98316 | 0.99245 | 0.9948 | 0.99483 | 0.99558 | 0.99715 | 0.9981 | 0.9982 | 0.9984 | 0.99873 | 0.99919 | 0.99952 | 0.99979 | 1 | 1.0003 | 1.0005 | 1.0007 | 1.0008 | 1.001 | 1.0013 | 1.0014 | 1.0014 | 1.0015 | 1.0015
 | 0 | 0.96694 | 0.98503 | 0.98968 | 0.98973 | 0.99121 | 0.99433 | 0.99622 | 0.99642 | 0.99681 | 0.99747 | 0.99837 | 0.99905 | 0.99958 | 1 | 1.0006 | 1.0011 | 1.0014 | 1.0017 | 1.0019 | 1.0025 | 1.0027 | 1.0029 | 1.003 | 1.003
 | 0 | 0.93804 | 0.97148 | 0.98025 | 0.98035 | 0.98316 | 0.98911 | 0.99271 | 0.99311 | 0.99386 | 0.99513 | 0.99686 | 0.99817 | 0.99919 | 1 | 1.0012 | 1.0021 | 1.0028 | 1.0033 | 1.0037 | 1.0049 | 1.0053 | 1.0055 | 1.0057 | 1.0059
 | 0 | 0.88142 | 0.94358 | 0.96058 | 0.96077 | 0.9663 | 0.97807 | 0.98527 | 0.98606 | 0.98758 | 0.99013 | 0.99363 | 0.99628 | 0.99834 | 1 | 1.0025 | 1.0043 | 1.0056 | 1.0067 | 1.0075 | 1.0101 | 1.0108 | 1.0113 | 1.0118 | 1.0121
 | 0 | 0.85342 | 0.92908 | 0.95022 | 0.95046 | 0.95737 | 0.97217 | 0.98127 | 0.98228 | 0.98419 | 0.98744 | 0.99189 | 0.99525 | 0.99788 | 1 | 1.0032 | 1.0055 | 1.0072 | 1.0086 | 1.0096 | 1.0129 | 1.0138 | 1.0145 | 1.0151 | 1.0155
 | 0 | 0.79045 | 0.89459 | 0.92518 | 0.92554 | 0.93569 | 0.95769 | 0.97139 | 0.9729 | 0.97581 | 0.98074 | 0.98753 | 0.99269 | 0.99674 | 1 | 1.0049 | 1.0085 | 1.0112 | 1.0133 | 1.0149 | 1.02 | 1.0215 | 1.0226 | 1.0234 | 1.0241
 | 0 | 0.7479 | 0.86971 | 0.90677 | 0.9072 | 0.91963 | 0.94681 | 0.9639 | 0.9658 | 0.96944 | 0.97564 | 0.9842 | 0.99072 | 0.99586 | 1 | 1.0063 | 1.0108 | 1.0142 | 1.0169 | 1.0191 | 1.0256 | 1.0275 | 1.0289 | 1.03 | 1.0309
 | 0 | 0.66005 | 0.81373 | 0.86423 | 0.86482 | 0.8822 | 0.92095 | 0.94587 | 0.94867 | 0.95405 | 0.96325 | 0.97606 | 0.9859 | 0.99368 | 1 | 1.0096 | 1.0166 | 1.0219 | 1.0261 | 1.0295 | 1.0397 | 1.0426 | 1.0448 | 1.0466 | 1.048
 | 0 | 0.5065 | 0.69782 | 0.77089 | 0.77179 | 0.79834 | 0.8603 | 0.90232 | 0.90714 | 0.9165 | 0.93269 | 0.95566 | 0.97365 | 0.98811 | 1 | 1.0184 | 1.0319 | 1.0423 | 1.0505 | 1.0572 | 1.0778 | 1.0838 | 1.0884 | 1.0919 | 1.0948
 | 0 | 0.40555 | 0.60552 | 0.69103 | 0.69212 | 0.72463 | 0.80366 | 0.85994 | 0.86656 | 0.87945 | 0.90206 | 0.93475 | 0.96088 | 0.98223 | 1 | 1.0279 | 1.0488 | 1.065 | 1.078 | 1.0887 | 1.1218 | 1.1316 | 1.1391 | 1.145 | 1.1498
 | 0 | 0.36224 | 0.56102 | 0.6506 | 0.65176 | 0.6866 | 0.77314 | 0.83639 | 0.84391 | 0.85864 | 0.88463 | 0.92265 | 0.95338 | 0.97873 | 1 | 1.0337 | 1.0592 | 1.0792 | 1.0952 | 1.1084 | 1.15 | 1.1624 | 1.1719 | 1.1795 | 1.1855
v'/v = (x+xy)/(x+y)

## Slide 11
Chart: x (0≤x≤1)
| 0 | 0.1 | 0.2 | 0.26700000000000002 | 0.26800000000000002 | 0.3 | 0.4 | 0.5 | 0.51400000000000001 | 0.54300000000000004 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.2 | 1.4 | 1.6 | 1.8 | 2 | 3 | 3.5 | 4 | 4.5 | 5
 | 0 | 9.1544 | 4.8905 | 3.7003 | 3.6869 | 3.3022 | 2.4878 | 1.9944 | 1.9405 | 1.8375 | 1.6639 | 1.4272 | 1.2493 | 1.1109 | 1 | 0.83357 | 0.71461 | 0.62536 | 0.55591 | 0.50035 | 0.33361 | 0.28596 | 0.25022 | 0.22242 | 0.20018
 | 0 | 8.4147 | 4.7816 | 3.6547 | 3.6418 | 3.2704 | 2.4753 | 1.9886 | 1.9353 | 1.8333 | 1.661 | 1.4257 | 1.2487 | 1.1106 | 1 | 0.83382 | 0.71495 | 0.62573 | 0.55629 | 0.50071 | 0.3339 | 0.28621 | 0.25045 | 0.22262 | 0.20037
 | 0 | 7.267 | 4.5822 | 3.5687 | 3.5567 | 3.21 | 2.4511 | 1.9775 | 1.9252 | 1.825 | 1.6555 | 1.4229 | 1.2473 | 1.1101 | 1 | 0.8343 | 0.71562 | 0.62645 | 0.55702 | 0.50143 | 0.33446 | 0.28671 | 0.25089 | 0.22303 | 0.20073
 | 0 | 5.7919 | 4.2512 | 3.4185 | 3.4081 | 3.1031 | 2.4073 | 1.9569 | 1.9066 | 1.8099 | 1.6452 | 1.4177 | 1.2449 | 1.1092 | 1 | 0.83521 | 0.71686 | 0.62781 | 0.55839 | 0.50277 | 0.33552 | 0.28765 | 0.25173 | 0.22378 | 0.20142
 | 0 | 4.0325 | 3.6798 | 3.1348 | 3.1272 | 2.8957 | 2.3181 | 1.9142 | 1.8678 | 1.7781 | 1.6235 | 1.4067 | 1.2396 | 1.1072 | 1 | 0.83716 | 0.71955 | 0.63075 | 0.56136 | 0.50567 | 0.33782 | 0.28969 | 0.25355 | 0.22543 | 0.20291
 | 0 | 3.461 | 3.4293 | 2.9996 | 2.9932 | 2.7942 | 2.2723 | 1.8917 | 1.8473 | 1.7612 | 1.612 | 1.4007 | 1.2367 | 1.1062 | 1 | 0.83822 | 0.72103 | 0.63235 | 0.56298 | 0.50726 | 0.33909 | 0.29081 | 0.25455 | 0.22633 | 0.20373
 | 0 | 2.5535 | 2.9292 | 2.7067 | 2.7026 | 2.5684 | 2.1652 | 1.8376 | 1.798 | 1.7204 | 1.5837 | 1.3861 | 1.2296 | 1.1035 | 1 | 0.8409 | 0.72474 | 0.63642 | 0.5671 | 0.5113 | 0.3423 | 0.29366 | 0.2571 | 0.22862 | 0.20582
 | 0 | 2.1241 | 2.6331 | 2.5172 | 2.5144 | 2.4177 | 2.0892 | 1.798 | 1.7618 | 1.6902 | 1.5626 | 1.375 | 1.2242 | 1.1014 | 1 | 0.84298 | 0.72763 | 0.6396 | 0.57032 | 0.51445 | 0.34481 | 0.29589 | 0.2591 | 0.23043 | 0.20746
 | 0 | 1.5003 | 2.1066 | 2.1457 | 2.145 | 2.1115 | 1.9224 | 1.707 | 1.6781 | 1.6199 | 1.5128 | 1.3483 | 1.211 | 1.0964 | 1 | 0.84816 | 0.73488 | 0.64758 | 0.57844 | 0.52242 | 0.3512 | 0.30156 | 0.26417 | 0.23501 | 0.21163
 | 0 | 0.85342 | 1.3896 | 1.5539 | 1.5554 | 1.5914 | 1.594 | 1.5097 | 1.4948 | 1.4629 | 1.3977 | 1.2839 | 1.1783 | 1.0836 | 1 | 0.86184 | 0.75428 | 0.66914 | 0.6005 | 0.54418 | 0.36883 | 0.31726 | 0.27824 | 0.24772 | 0.2232
 | 0 | 0.58398 | 1.0186 | 1.1998 | 1.2018 | 1.2594 | 1.3477 | 1.3435 | 1.3384 | 1.3254 | 1.2925 | 1.2215 | 1.1451 | 1.0702 | 1 | 0.87698 | 0.7762 | 0.69386 | 0.62605 | 0.56957 | 0.38976 | 0.33596 | 0.29505 | 0.26293 | 0.23707
 | 0 | 0.49101 | 0.87799 | 1.0555 | 1.0576 | 1.1194 | 1.2334 | 1.2604 | 1.2594 | 1.2547 | 1.2366 | 1.1869 | 1.1261 | 1.0624 | 1 | 0.88631 | 0.78998 | 0.70959 | 0.64244 | 0.58597 | 0.40349 | 0.34828 | 0.30614 | 0.27299 | 0.24624
v'/v = (x+xy)/(x^2+y)