## Slide 1
% DMSO | 0min | 60min | DAFU
0 | 406 | 710 | 304
10 | 439 | 899 | 460
20 | 447 | 1009 | 562
25 | 420 | 1067 | 647
30 | 425 | 990 | 565
35 | 380 | 811 | 431
40 | 369 | 627 | 258
50 | 334 | 383 | 49
% DMSO | 0min | 60min | DAFU
0 | 418 | 1272 | 854
10 | 450 | 1349 | 899
20 | 464 | 1552 | 1088
25 | 464 | 1735 | 1271
30 | 421 | 1548 | 1127
35 | 381 | 1222 | 841
40 | 369 | 1071 | 702
50 | 327 | 467 | 140
Chart: 
Enzo SIRT3 | 854 | 899 | 1088 | 1271 | 1127 | 841 | 702 | 140
Chart: 
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
In-house SIRT3 | 304 | 460 | 562 | 647 | 565 | 431 | 258 | 49
Dependence of enzyme activity on DMSO concentration

## Slide 2
Results and Discussions
Activity experiments were performed in the presence of different concentration of DMSO (0-50%). The critical DMSO concentration was observed. We defined that the critical DMSO concentration is the concentration where SIRT3 enzyme still keeps equal activity as it at 0% DMSO.
Up to 35% DMSO, DAFU is still comparable to it at 0%, which Indicated enzyme have fair good activity in the presence of 35% DMSO.
Interestingly, the DAFU increases as DMSO% increasing to 25% then drop down. Not sure if this is due to the DMSO background or others.
  Without big signal from DHP1c, DMSO background played a rule now.
  Need to analyze the spectroscopic data for further comments.
Over 35% DMSO, the enzyme does not behave functionally, might due to the changed of enzyme structure in high concentration DMSO.

## Slide 3
Chart: Wavelength (nm)
In-house SIRT3
Chart: %DMSO
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
 | 1060 | 1227 | 1381 | 1472 | 1506 | 1407 | 1205 | 956

## Slide 4
Enzo SIRT3
Chart: Wavelength (nm)
Chart: %DMSO
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
 | 1582 | 1700 | 2012 | 2283 | 2202 | 1979 | 1923 | 1078

## Slide 5
In the absence of DHP1c, DMSO concentration influences Flour-de-Lys assay readout.
  Without DHP1c, the fluorescence readout is contributed by mainly
    fluorophore from deacetlyted peptide produced by developer,
    DMSO
    NAD+
    substrate peptide
    assay buffer
    developer solution.
  Among the aforementioned 6 factors, the fluorescence readout varied as change of DMSO concentrations. This indicated that DMSO provides background in the assay reaction.
  There is no linear relationship between Peak height vs. DMSO concentration
    Up to ~25% DMSO, fluorescence intensity increases along DMSO concentration increase, which might indicate
      Enzyme is fully functional
      Background is contributed by DMSO
    Between 25% to 40%DMSO, fluorescence intensity decreases as DMSO concentration increase, but still higher than 0% DMSO, which might indicate
      Enzyme is still working OK
      Readout was influenced by concentrated DMSO
    At 50% DMSO, fluorescence intensity drops significantly
      Enzyme is not functional
      50% DMSO denatured protein