## Slide 1
Dependence of enzyme activity on DMSO concentration

## Slide 2
% DMSO | 0min | 60min | DAFU
0 | 406 | 710 | 304
5 (12.11.15) | 360 | 606 | 246
10 | 439 | 899 | 460
20 | 447 | 1009 | 562
25 | 420 | 1067 | 647
30 | 425 | 990 | 565
35 | 380 | 811 | 431
40 | 369 | 627 | 258
50 | 334 | 383 | 49
% DMSO | 0min | 60min | DAFU
0 | 418 | 1272 | 854
10 | 450 | 1349 | 899
20 | 464 | 1552 | 1088
25 | 464 | 1735 | 1271
30 | 421 | 1548 | 1127
35 | 381 | 1222 | 841
40 | 369 | 1071 | 702
50 | 327 | 467 | 140
Chart: 
Enzo SIRT3 | 854 | 899 | 1088 | 1271 | 1127 | 841 | 702 | 140
Chart: 
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
In-house SIRT3 | 304 | 460 | 562 | 647 | 565 | 431 | 258 | 49

## Slide 3
Results and Discussions
Activity experiments were performed in the presence of different concentration of DMSO (0-50%). The critical DMSO concentration was observed. We defined that the critical DMSO concentration is the concentration where SIRT3 enzyme still keeps equal activity as it at 0% DMSO.
Up to 35% DMSO, DAFU is still comparable to it at 0%, which Indicated enzyme have fair good activity in the presence of 35% DMSO.
Interestingly, the DAFU increases as DMSO% increasing to 25% then drop down. Not sure if this is due to the DMSO background or others.
  Without big signal from DHP1c, DMSO background played a rule now.
  Need to analyze the spectroscopic data for further comments.
Over 35% DMSO, the enzyme does not behave functionally, might due to the changed of enzyme structure in high concentration DMSO.

## Slide 4
Chart: Wavelength (nm)
In-house SIRT3
Chart: %DMSO
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
 | 1060 | 1227 | 1381 | 1472 | 1506 | 1407 | 1205 | 956

## Slide 5
Enzo SIRT3
Chart: Wavelength (nm)
Chart: %DMSO
| 0 | 10 | 20 | 25 | 30 | 35 | 40 | 50
 | 1582 | 1700 | 2012 | 2283 | 2202 | 1979 | 1923 | 1078

## Slide 6
In the absence of DHP1c, DMSO concentration influences Flour-de-Lys assay readout.
  Without DHP1c, the fluorescence readout is contributed by mainly
    fluorophore from deacetlyted peptide produced by developer,
    DMSO
    NAD+
    substrate peptide
    assay buffer
    developer solution.
  Among the aforementioned 6 factors, the fluorescence readout varied as change of DMSO concentrations. This indicated that DMSO provides background in the assay reaction.
  At 50% DMSO, fluorescence intensity drops significantly
      Enzyme is not functional
      50% DMSO denatured protein
Results and Discussions

## Slide 7
Standard curve

## Slide 8
Chart: [Standard], uM
| 0 | 15 | 7.5 | 3.75 | 1.875 | 0.9375
 | 0 | 4130 | 2060 | 1050 | 501 | 217
[Standard], uM | AFU | 
 | Raw | Correct
0 | 37 | 0
15 | 4167 | 4130
7.5 | 2097 | 2060
3.75 | 1087 | 1050
1.875 | 538 | 501
0.9375 | 254 | 217
Fluor de Lys Standard Curve

## Slide 9
[Standard], uM | 0% DMSO | 5% DMSO | 10%DMSO | 25%DMSO | 35%DMSO | 40%DMSO | 50%DMSO
0 | 37 | 29 | 41 | 41 | 44 | 34 | 39
0.234375 |  | 91 | 94 | 108 | 111 | 110 | 117
0.46875 |  | 139 | 133 | 157 | 156 | 176 | 157
0.9375 | 254 | 233 | 224 | 255 | 257 | 268 | 250
1.875 | 538 | 398 | 357 | 412 | 403 | 441 | 409
3.75 | 1087 | 676 | 633 | 671 | 551 | 722 | 708
7.5 | 2097 | 1199 | 1137 | 1199 | 1148 | 1293 | 1193
15 | 4167 | 2028 | 1898 | 1962 | 1958 | 2067 | 2129

## Slide 10
[Standard], uM | 5% DMSO | 10%DMSO | 25%DMSO | 35%DMSO | 40%DMSO | 50%DMSO
0 | 29 | 41 | 41 | 44 | 34 | 39
0.234375 | 91 | 94 | 108 | 111 | 110 | 117
0.46875 | 139 | 133 | 157 | 156 | 176 | 157
0.9375 | 233 | 224 | 255 | 257 | 268 | 250
1.875 | 398 | 357 | 412 | 403 | 441 | 409
3.75 | 676 | 633 | 671 | 551 | 722 | 708
7.5 | 1199 | 1137 | 1199 | 1148 | 1293 | 1193
15 | 2028 | 1898 | 1962 | 1958 | 2067 | 2129
Chart: [Fluor de Lys Standard], uM
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
5%DMSO | 0 | 62 | 110 | 204 | 369 | 647 | 1170 | 1999
10%DMSO | 0 | 53 | 92 | 183 | 316 | 592 | 1096 | 1857
25%DMSO | 0 | 67 | 116 | 214 | 371 | 630 | 1158 | 1921
35%DMSO | 0 | 67 | 112 | 213 | 359 | 507 | 1104 | 1914
40%DMSO | 0 | 76 | 142 | 234 | 407 | 688 | 1259 | 2033
50%DMSO | 0 | 78 | 118 | 211 | 370 | 669 | 1154 | 2090
Chart: 5% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 62 | 110 | 204 | 369 | 647 | 1170 | 1999
Different concentration of DMSO

## Slide 11
Chart: 10% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 53 | 92 | 183 | 316 | 592 | 1096 | 1857
Chart: 25% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 67 | 116 | 214 | 371 | 630 | 1158 | 1921

## Slide 12
Chart: 35% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 67 | 112 | 213 | 359 | 507 | 1104 | 1914
Chart: 40% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 76 | 142 | 234 | 407 | 688 | 1259 | 2033

## Slide 13
Chart: 50% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 78 | 118 | 211 | 370 | 669 | 1154 | 2090
The Fluor de Lys Standard working solution was prepared with different concentration of DMSO in reaction solution.
  The linearity of standard curve (5% DMSO: R2=0.9826) is not as good as that in assay buffer alone (R2=0.9998) .

## Slide 14
EC1.5 measurement on New DHP 1c

## Slide 15
[DHp 1c], uM | In-house SIRT3 |  |  | Enzo SIRT3 |  | 
 | 0min | 60min | Ratio | 0min | 60min | Ratio
0 | 230 | 443 | 1.00 | 226 | 586 | 1.00
25 | 910 | 1188 | 1.31 | 945 | 1416 | 1.31
50 | 1227 | 1566 | 1.59 | 1190 | 1770 | 1.61
100 | 1726 | 2061 | 1.57 | 1565 | 2136 | 1.59
200 | 2220 | 2261 | 0.19 | 2198 | 2283 | 0.24
300 | 2471 | 2493 | 0.10 | 2519 | 2567 | 0.13
400 | 2531 | 2557 | 0.12 | 2422 | 2474 | 0.14
New DHP 1c from Santa Cruz
Chart: [DHP 1c], uM
| 0 | 25 | 50 | 100 | 200 | 300 | 400
In-house SIRT3 | 1 | 1.3052 | 1.5915 | 1.5728 | 0.19249 | 0.10329 | 0.12207
Chart: [DHP 1c], uM
| 0 | 25 | 50 | 100 | 200 | 300 | 400
Enzo SIRT3 | 1 | 1.3083 | 1.6111 | 1.5861 | 0.23611 | 0.13333 | 0.14444
Dissolve 0.898mg of DHP1c into 229.4 ul DMSO to make stock solution (10mM).
Dilute stock solution into DMSO for final concentration of 250, 500, 1000, 2000, 3000 uM working solution.
5 ul of above working solutions was added in reaction for final volume 50ul. Assay buffer composition: 50mM Tris, 137mM NaCl, 2.7mM KCl, 1mM MgCl2, 1mg/ml BSA.

## Slide 16
The addition of 50 uM of DHP 1c is able to increase enzyme activity of 1.59 (in-house SIRT3) and 1.61 (Enzo SIRT3).
Increasing DHP 1c concentration to 100uM, the enzyme activity was increased to 1.57 (in house SIRT3) and 1.59 (Enzo SIRT3) respectively.
Further increasing DHP 1c concentration results inhibition of activity.
The precipitation was observed by eye when prepared DHP1c solution which concentration was greater than 200uM.

## Slide 17
New DHP 1c from Enzo
[DHp 1c], uM | In-house SIRT3 |  |  | Enzo SIRT3 |  | 
 | 0min | 60min | Ratio | 0min | 60min | Ratio
0 | 226 | 429 | 1.00 | 233 | 630 | 1.00
25 | 934 | 1217 | 1.39 | 900 | 1446 | 1.38
50 | 1226 | 1530 | 1.50 | 1175 | 1783 | 1.53
100 | 1571 | 1873 | 1.49 | 1398 | 1999 | 1.51
200 | 2116 | 2221 | 0.52 | 1963 | 2163 | 0.50
300 | 2248 | 2300 | 0.26 | 2179 | 2305 | 0.32
400 | 2430 | 2476 | 0.23 | 2277 | 2393 | 0.29
Chart: [DHP 1c], uM
| 0 | 25 | 50 | 100 | 200 | 300 | 400
In-house SIRT3 | 1 | 1.3941 | 1.4975 | 1.4877 | 0.51724 | 0.25616 | 0.2266
Chart: [DHP 1c], uM
| 0 | 25 | 50 | 100 | 200 | 300 | 400
Enzo SIRT3 | 1 | 1.3753 | 1.5315 | 1.5139 | 0.50378 | 0.31738 | 0.29219
Dissolve 0.927mg of DHP1c into 236.8 ul DMSO to make stock solution (10mM).
Dilute stock solution into DMSO for final concentration of 250, 500, 1000, 2000, 3000 uM working solution.
5 ul of above working solutions was added in reaction for final volume 50ul. Assay buffer composition: 50mM Tris, 137mM NaCl, 2.7mM KCl, 1mM MgCl2, 1mg/ml BSA.

## Slide 18
The addition of 50 uM of DHP 1c is able to increase enzyme activity of 1.50 (in-house SIRT3) and 1.53 (Enzo SIRT3).
Increasing DHP 1c concentration to 100uM, the enzyme activity was increased to 1.49 (in house SIRT3) and 1.51 (Enzo SIRT3) respectively.
The precipitation was observed by eye when prepared DHP1c solution which concentration was greater than 200uM.