## Slide 1: Different concentration of DHP1c in 5% DMSO
In the presence of DHP1c, no linearity was obtained in the standard curve at different concentration of DHP1c in range 0uM – 2000 uM.
  Fluorescence signal from Fluor de Lys standard was influenced by addition of higher concentration of DHP1c (200uM – 2000mM).

## Slide 2
[Standard], uM | 0uM DHP1c
0 | 29
0.234375 | 91
0.46875 | 139
0.9375 | 233
1.875 | 398
3.75 | 676
7.5 | 1199
15 | 2028
Chart: 0uM DHP1c in 5% DMSO
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
 | 0 | 62 | 110 | 204 | 369 | 647 | 1170 | 1999
11.25.15

## Slide 3
11.30.15
[Standard], uM | 0uM DHP1c | 10uM DHP1c | 25uM DHP1c | 50uM DHP1c | 100uM DHP1c
0 | 34 | 211 | 358 | 624 | 1165
0.234375 | 95 | 216 | 379 | 666 | 1227
0.46875 | 143 | 254 | 388 | 749 | 1327
0.9375 | 241 | 357 | 472 | 836 | 1445
1.875 | 391 | 492 | 603 | 927 | 1576
3.75 | 671 | 747 | 817 | 1132 | 1691
7.5 | 1151 | 1225 | 1332 | 1615 | 1893
15 | 1970 | 1972 | 1990 | 2279 | 2509
Chart: 0uM DHP1c
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 61 | 109 | 207 | 357 | 637 | 1117 | 1936

## Slide 4
Chart: 100uM DHP1c
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 62 | 162 | 280 | 411 | 526 | 728 | 1344
Chart: 25uM DHP1c
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 21 | 30 | 114 | 245 | 459 | 974 | 1632
Chart: 10uM DHP1c
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 5 | 43 | 146 | 281 | 536 | 1014 | 1761
Chart: 50uM DHP1c
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
0uM DHP1c | 0 | 42 | 125 | 212 | 303 | 508 | 991 | 1655

## Slide 5
Chart: [Flour de Lys Standard], uM
| 0 | 0.234375 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15
200uM DHP1c | 2435 | 2601 | 2385 | 2173 | 2063 | 2127 | 2042 | 2767
300uM DHP1c | 2993 | 3419 | 3170 | 2957 | 2843 | 2757 | 2704 | 2744
400uM DHP1c | 3781 | 3906 | 3702 | 3615 | 3397 | 3224 | 3245 | 3416
500uM DHP1c | 4656 | 4629 | 4403 | 4249 | 4022 | 3755 | 3837 | 3821
1000uM DHP1c | 5556 | 5570 | 5450 | 5216 | 5037 | 4647 | 4513 | 4547
2000uM DHP1c | 6713 | 6549 | 6382 | 6358 | 5902 | 5320 | 5209 | 4656
[Standard], uM | 200uM DHP1c | 300uM DHP1c | 400uM DHP1c | 500uM DHP1c | 1000uM DHP1c | 2000uM DHP1c
0 | 2435 | 2993 | 3781 | 4656 | 5556 | 6713
0.234375 | 2601 | 3419 | 3906 | 4629 | 5570 | 6549
0.46875 | 2385 | 3170 | 3702 | 4403 | 5450 | 6382
0.9375 | 2173 | 2957 | 3615 | 4249 | 5216 | 6358
1.875 | 2063 | 2843 | 3397 | 4022 | 5037 | 5902
3.75 | 2127 | 2757 | 3224 | 3755 | 4647 | 5320
7.5 | 2042 | 2704 | 3245 | 3837 | 4513 | 5209
15 | 2767 | 2744 | 3416 | 3821 | 4547 | 4656