## Slide 1
SIRT3 plasmids were transformed to BL21 cell.
Plate the above chemical transformation product on LB argar with Ampicillin (1:1000) at 37oC overnight.
Single colonies were detected and were cultured firstly in 500 ul LB broth/Amp till OD to 0.6.
Transfer 20 ul of above culture to 5mL LB broth/Amp overnight at 37oC with 250 rpm
Scale up for 100ml of cell culture.
Add IPTG for final concentration (2mM) at 37oC 250 rpm for 3 hours.
Centrifuge to get the cell pellet and stored at -80oC till use.
Add lysis buffer + bugbuster and sonication.
Centrifuge to obtain supernatant
SIRT3 (102-399)
UniProt ID: Q9NTG7
Length: 298
Mass (Da): 32,700
SIRT3 Purification
SIRT3A SIRT3B
Under current condition, protein expression level is good.

## Slide 2
10. AKTA first Ni-column purification
  Equilibration 4.5 ml
  Wash 20 column volume (20 ml,5ml /fraction)
  Elution 10 cv (10 ml, 0.5 ml/fraction)
  Waste
11. Run protein gel to check
  SIRT3 protein expression level
  Fraction content
    First 2 wash (10 ml) are enough
    First 7 elution (3.5ml) are good
  Modify AKTA program
    Reduce wash volume to 10 CV
    Reduce elution to 5 CV

## Slide 3
12. rTEV cleavage
  Transfer the last step protein into dialysis tube with addition of rTEV (0.15 ml, 2mg/ml)
  1uint cleaves >85% of 3ug protein
  10units/ug
  Dialysis at 4oC overnight
  Cleavage efficiency need to be improved
13. AKTA second Ni-column purification
  Equilibration 2 ml
  Wash 5 column volume (5 ml,1ml /fraction)
  Elution 5 cv (10 ml, 1 ml/fraction)
  Equilibrium column using ethanol buffer

## Slide 4
14. Protein concentration measurement
 | Abs (280 nm) | [Protein], mg/ml
After sonication | 0.3534 | 12.0619
FT1 | 0.0152 | 0.5197
FT2 | 0.0572 | 1.9505
W1 | 0.1039 | 3.5469
W2 | 0.0428 | 1.4603
W3 | 0.0238 | 0.8114
W4 | 0.0169 | 0.5764
W5 | 0.0172 | 0.5858
E1 | 0.0213 | 0.7257
E2-4 | 0.2166 | 7.3933
E5-7 | 0.1200 | 4.0947
E8-20 | 0.0203 | 0.6937
First Step FPLC
[Final purified SIRT3His]= 2.3144mg/ml

## Slide 5
 | Abs (280 nm) | [Protein], mg/ml
Cleavage-Before | 0.1760 | 6.0481
Cleavage-After | 0.1241 | 4.2631
FT1 | 0.0315 | 1.0838
FT2 | 0.1258 | 4.3222
W1 | 0.0656 | 2.2543
W2 | 0.0458 | 1.5734
W3 | 0.0316 | 1.0844
W4 | 0.0106 | 0.3657
W5 | 0.0043 | 0.1487
E1 | 0.0417 | 1.4340
E2 | 0.1370 | 4.7069
E3 | 0.0815 | 2.7997
E4 | 0.0285 | 0.9804
E5 | 0.0122 | 0.4207
Second Step FPLC
[Final purified SIRT3]= 1.085mg/ml

## Slide 6
% | Control | 5ul | 10ul | 20ul
No protein | 120 |  |  | 
His-tage (yes) | 100 | 103 | 105 | 111
His-tage (No) | 100 | 106 | 113 | 127
Chart: Activity %
| His-tage (yes) | His-tage (No)
Control | 100 | 100
5ul protein | 102.5424 | 108.547
10ul protein | 105.9322 | 111.1111
20ul protein | 111.0169 | 118.8034
15. Protein activity measurement
Commons:
SIRT3His also has activity.
2-mercaptoethanol has adsorbtion at 280 nm.
Cleavage step needs more modification.
Purified protein need to be concentrated.
Specific activity need to be measured
Activity comparison between commercial protein and in-house made protein need to be done.
[NAD+]=750 uM | 
[Fluor-de-Lys substrate]= 25 uM | 
purified protein= 5ul, 10ul, 20 ul | 
1xdeveloperII/ 2mM NAM | 
37oC 40 min incubation | 
Ex=360 nm | 
Em= 460 nm | 
[Protein], mg/ml |  | Protein, ug | 
His-tag (yes) | 11.572 | 23.144 | 46.288
His-tag (No) | 5.425 | 10.85 | 21.7
% activity per ug protein | 5ul | 10ul | 20ul
His-tage (yes) | 0.220 | 0.220 | 0.238
His-tage (No) | 1.103 | 1.182 | 1.260