## Slide 1
Standard curve at in Assay Buffer
w/o [DHP2c]
  Solubility of DHP2c in assay buffer : ~ 100uM
  Solubility of DHP2c in DMSO: >70mg/ml

## Slide 2
In assay buffer with different concentration of DHP2c
[Standard], uM | [DHP2c], uM |  |  |  |  | 
 | 0 | 10 | 25 | 50 | 75 | 100
0 | 29 | 344 | 708 | 1152 | 1509 | 1793
0.46875 | 193 | 503 | 861 | 1295 | 1644 | 1943
0.9375 | 348 | 661 | 1002 | 1422 | 1729 | 2027
1.875 | 583 | 895 | 1216 | 1630 | 1937 | 2217
3.75 |  | 1284 | 1651 | 1908 | 2161 | 2358
7.5 | 1758 | 1951 | 2112 | 2456 | 2593 | 2749
15 | 3032 | 3203 | 3360 | 3531 | 3586 | 3611
30 | 4849 | 5155 | 5174 | 5056 | 5078 | 5057
Slope (-30uM) | 172.05 | 170.17 | 157.61 | 138.87 | 124.9 | 112.98
R2 | 0.9709 | 0.976 | 0.9761 | 0.9725 | 0.9827 | 0.9844
Slope(- 15uM) | 207.89 | 199.61 | 183.87 | 165.09 | 142.71 | 125.51
R2 | 0.9871 | 0.9806 | 0.9765 | 0.9813 | 0.9823 | 0.9698

## Slide 3
Chart: 0uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 164 | 319 | 554 | 1729 | 3003 | 4820
 | 0 | 164 | 319 | 554 | 1729 | 3003
Chart: 10uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 159 | 317 | 551 | 940 | 1607 | 2859 | 4811
 | 0 | 159 | 317 | 551 | 940 | 1607 | 2859
Chart: 25uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 153 | 294 | 508 | 943 | 1404 | 2652 | 4466
 | 0 | 153 | 294 | 508 | 943 | 1404 | 2652
Chart: 50uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 143 | 270 | 478 | 756 | 1304 | 2379 | 3904
 | 0 | 143 | 270 | 478 | 756 | 1304 | 2379
Chart: 75uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 135 | 220 | 428 | 652 | 1084 | 2077 | 3569
 | 0 | 135 | 220 | 428 | 652 | 1084 | 2077
Chart: 100uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 150 | 234 | 424 | 565 | 956 | 1818 | 3264
 | 0 | 150 | 234 | 424 | 565 | 956 | 1818

## Slide 4
Standard curve at 0.2% DMSO
w/o [DHP2c]
  Solubility of DHP2c in assay buffer : ~ 100uM
  Solubility of DHP2c in DMSO: >70mg/ml

## Slide 5
[Standard], uM | [DHP2c], uM |  |  |  |  |  |  |  | 
 | 0 | 10 | 25 | 50 | 100 | 150 | 200 | 300 | 400
0 | 29 | 349 | 893 | 1637 | 2356 | 2970 | 3382 | 4022 | 4495
0.46875 | 182 | 466 | 1024 | 1756 | 2457 | 3068 | 3453 | 4077 | 4526
0.9375 | 332 | 624 | 1131 | 1819 | 2535 | 3159 | 3540 | 4048 | 4499
1.875 | 592 | 886 | 1314 | 2056 | 2663 | 3222 | 3605 | 4069 | 4470
3.75 | 1014 | 1323 | 1653 | 2309 | 2832 | 3295 | 3533 | 4046 | 4387
7.5 | 1787 | 2036 | 2271 | 2927 | 3220 | 3569 | 3768 | 4166 | 4423
15 | 3153 | 3413 | 3611 | 4207 | 4213 | 4408 | 4463 | 4808 | 4832
30 | 5073 | 5350 | 5522 | 5505 | 5601 | 5613 | 5487 | 5700 | 5630
Slope (-30uM) | 180.4 | 178.02 | 161.59 | 139.84 | 111.89 | 89.395 | 69.526 | 52.868 | 31.778
R2 | 0.9707 | 0.9749 | 0.9885 | 0.9674 | 0.9927 | 0.9935 | 0.9861 | 0.9574 | 0.8274
Slope(- 15uM) | 217.22 | 212 | 183.47 | 172.57 | 123.07 | 93.279 | 67.602 | 43.672 | 13.608
R2 | 0.9866 | 0.9889 | 0.9966 | 0.9976 | 0.9938 | 0.9781 | 0.9389 | 0.8472 | 0.4027
In 0.2% DMSO with different concentration of DHP2c
Chart: 0uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 153 | 303 | 563 | 985 | 1758 | 3124 | 5044
 | 0 | 153 | 303 | 563 | 985 | 1758 | 3124
Chart: 10uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 117 | 275 | 537 | 974 | 1687 | 3064 | 5001
 | 0 | 117 | 275 | 537 | 974 | 1687 | 3064
Chart: 25uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 131 | 238 | 421 | 760 | 1378 | 2718 | 4629
 | 0 | 131 | 238 | 421 | 760 | 1378 | 2718

## Slide 6
Chart: 50uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 119 | 182 | 419 | 672 | 1290 | 2570 | 3868
 | 0 | 119 | 182 | 419 | 672 | 1290 | 2570 | 3868
Chart: 100uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 101 | 179 | 307 | 476 | 864 | 1857 | 3245
 | 0 | 101 | 179 | 307 | 476 | 864 | 1857
Chart: 150uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 98 | 189 | 252 | 325 | 599 | 1438 | 2643
 | 0 | 98 | 189 | 252 | 325 | 599 | 1438
Chart: 200uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 71 | 158 | 223 | 151 | 386 | 1081 | 2105
 | 0 | 71 | 158 | 223 | 151 | 386 | 1081
Chart: 300uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 55 | 26 | 47 | 24 | 144 | 786 | 1678
 | 0 | 55 | 26 | 47 | 24 | 144 | 786
Chart: 400uM DHP2c
| 0 | 0.46875 | 0.9375 | 1.875 | 3.75 | 7.5 | 15 | 30
 | 0 | 31 | 4 | -25 | -108 | -72 | 337 | 1135
 | 0 | 31 | 4 | -25 | -108 | -72 | 337
In 0.2% DMSO with different concentration of DHP2c (1/20/2016 – 1/22/2016)

## Slide 7
EC1.5 Calculation using standard curve at different [DHP2c]

## Slide 8
EC1.5_DHP2c_Purified enzyme in 0.2% DMSO
[DHP2c], mM | 0min | 60min | DAFU | Ratio | DmM | Ratio | Slope
0 | 253 | 294 | 41 | 1.00 | 0.219 | 1.00 | 184.66
10 | 435 | 499 | 65 | 1.59 | 0.349 | 1.59 | 184.76
25 | 591 | 728 | 137 | 3.38 | 0.824 | 3.75 | 166.36
50 | 1005 | 1172 | 167 | 4.12 | 1.188 | 5.42 | 140.58
100 | 1226 | 1397 | 171 | 4.22 | 1.551 | 7.07 | 110.23
200 | 1887 | 2023 | 136 | 3.36 | 2.003 | 9.13 | 67.89
300 | 2331 | 2368 | 37 | 0.91 | 0.772 | 3.52 | 47.91
400 | 2462 | 2461 | -1 | -0.01 | -0.016 | -0.07 | 30.87
Chart: [DHP2c}, uM
| 0 | 10 | 25 | 50 | 100 | 200 | 300 | 400
 | 1 | 1.5917 | 3.7549 | 5.4166 | 7.0732 | 9.1343 | 3.5211 | -0.073847
 | 1 | 1.5926 | 3.3827 | 4.1235 | 4.2222 | 3.358 | 0.91358 | -0.012346

## Slide 9
EC1.5_DHP2c_Purified enzyme in Assay buffer
[DHP2c], mM | 0min | 60min | DAFU | Ratio | DmM | Ratio | Slope
0 | 194 | 332.5 | 1.00 | 1.00 | 0.805 | 1.00 | 172.05
10 | 397.5 | 636 | 1.72 | 1.59 | 1.402 | 1.74 | 170.17
25 | 640.5 | 1005 | 2.63 | 3.38 | 2.313 | 2.87 | 157.61
50 | 999.5 | 1421 | 3.04 | 4.12 | 3.035 | 3.77 | 138.87
75 | 1369 | 1923 | 4.00 | 4.22 | 4.436 | 5.51 | 124.9
100 | 1518 | 2108.5 | 4.26 | 3.36 | 5.227 | 6.49 | 112.98
Chart: [DHP2c], uM
| 0 | 10 | 25 | 50 | 75 | 100
In deltauM | 1 | 1.741 | 2.8729 | 3.7705 | 5.51 | 6.4927
in deltaAFU | 1 | 1.722 | 2.6318 | 3.0433 | 4 | 4.2635

## Slide 10
Remarks
EC1.5 of DHP2c in assay buffer was performed in range 0-100uM. It did not reach saturation yet based on the results (Slide 9)
To achieve 400uM DHP2c, 0.2% DMSO is needed, which is the lowest concentration can be used.
EC1.5 of DHP2c in 0.2% DMSO was performed as well. Using the standard curve (blue dots), at 200uM of DHP2c, it shown saturation.
The ratio some how is higher than reported. Need to repeat to confirm.