## Slide 1: Validation of DMSO effect by HPLC
5.13.16-5.17.16

## Slide 2
Experimental conditions
[SIRT3]=8U/reaction
[NAD+]=1500 mM
[FdL2 peptide]=100 mM
% DMSO= 0, 1%, 5%, 10%, 20%
Time points= 0, 45 min
Temp.= 37oC
Intraday
variation
HPLC-based assay

## Slide 3
Experimental conditions
[SIRT3]=8U/reaction
[NAD+]=1500 mM
[FdL2 peptide]=100 mM
% DMSO= 0, 1%, 5%, 10%, 20%
Time points= 0, 45 min
Temp.= 37oC
Intraday
variation
HPLC-based assay

## Slide 4
Experimental conditions
[SIRT3]=8U/reaction
[NAD+]=1500 mM
[FdL2 peptide]=100 mM
% DMSO= 0, 1%, 5%, 10%, 20%
Time points= 0, 60 min
Temp.= 37oC
Intraday
variation
Enzo FdL assay

## Slide 5
Remarks
HPLC results (slides 2 and 3) shown that pmoles of product formed decreases as increasing the percentage of addition of DMSO. It may suggest
  DMSO inhibits enzo SIRT3
  High % DMSO denature the enzo SIRT3
Under same condition, the FdL assay was carried out (Slide 4). % Activity decreases as increasing the %DMSO.
The reason we choose up to 20%DMSO is because in 2015 Nat. Commun. Paper (Pumpf T et al. Selective Sirt2 inhibition by ligand-induced rearrangement of the active site. Nat. Commun. (2015) 6, 6263.), it was mentioned 5-20% DMSO (v/v) were used to dissolve the inhibitors.
It is clear that the addition of high% DMSO will inhibit/denature the enzyme based on current HPLC results. Although respective % DMSO solution was used as control (the DMSO background will be subtracted), if SIRT3 was denatured partially by 20% DMSO, the detected inhibition effect will be questioned.